## PP1_E&I
Sl.No. | Functional Area | Equipment | Interlock | Category | Department related | Approval of concerned dept | Approval from process | Person to take action
1 | Turbine | Turbine | GOV HEAVY FAULT | Equipment Safety | Electrical | Head - Power Plant | Incharge - Electrical | Incharge - Instrumentation
2 |  |  | Elec. O/s trip | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
3 |  |  | Mech O/s trip | Equipment Safety | Mech, Instrumentation | Head - Power Plant | Incharge - Mechanical | Incharge - Instrumentation
4 |  |  | Hand trip | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
5 |  |  | DCS trip | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
6 |  |  | TGP trip | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
7 |  |  | Exhaust Pressure High | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
8 |  |  | Hotwell level HIHI | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
9 |  |  | Lube oil press. low low | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
10 |  |  | Turbine axial displ. | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
11 |  |  | Rotor diff. expansion | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
12 |  |  | Turbine front Vibration | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
13 |  |  | Turbine rear Vibration | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
14 |  |  | R/G Pinion vibration | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
15 |  |  | R/G wheel vibration | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
16 |  |  | Genrator front vibration | Equipment Safety | Elec, Inst | Head - Power Plant | Incharge - Electrical | Incharge - Instrumentation
17 |  |  | Genrator Rear vibration | Equipment Safety | Elec, Inst | Head - Power Plant | Incharge - Electrical | Incharge - Instrumentation
18 |  |  | Deaerator Level HIHI | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
19 |  |  | Lube oil tank level LOLO | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
20 |  |  | Generator Heavy Fault | Equipment Safety | Electrical | Head - Power Plant | Incharge - Electrical | Incharge - Instrumentation
21 |  |  | Turbine thrust brg inactive temp | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
22 |  |  | Turbine thrust brg active temp | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
23 |  |  | Turbine front bearing temp | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
24 |  |  | Turbine rear bearing temp | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
25 |  |  | R/G Pinion front brg temp high | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
26 |  |  | R/G Pinion rear brg temp high | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
27 |  |  | R/G wheelfront brg temp high | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
28 |  |  | R/G Wheel rear brg temp high | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
29 |  |  | Generator front brg temp high | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
30 |  |  | Generator front brg temp high | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
31 |  |  | Generator R-phase | Equipment Safety | Electrical | Head - Power Plant | Incharge - Electrical | Incharge - Instrumentation
32 |  |  | Generator Y-phase | Equipment Safety | Electrical | Head - Power Plant | Incharge - Electrical | Incharge - Instrumentation
33 |  |  | Generator B-phase | Equipment Safety | Electrical | Head - Power Plant | Incharge - Electrical | Incharge - Instrumentation
34 |  |  | Gear box bearing Temp HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
35 |  |  | Alternator bearing Temp HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
36 |  |  | Lube oil tank level LOLO | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation