## PP2_E&I
Sl.No. | Functional Area | Equipment | Interlock | Category | Department related | Approval of concerned dept | Approval from process | Person to take action
1 | Turbine | Turbine | Governor Trip circuit unhealthy | Equipment Safety | Electrical | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
2 |  |  | Electrical GRP Faulit | Equipment Safety | Electrical | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
3 |  |  | Generator Differential operated | Equipment Safety | Electrical | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
4 |  |  | Overspeed Trip from Governor | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
5 |  |  | OSPS Trip | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
6 |  |  | TSP - Governor Emergency Push button | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
7 |  |  | Emergency Shutdown - Governor | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
8 |  |  | GRP Emergency Push button | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
9 |  |  | TGP Board Emergency Push button | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
10 |  |  | DCS trip - Turbine control page | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
11 |  |  | Main steam Pressure low low | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
12 |  |  | Main steam Pressure High High | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
13 |  |  | Main steam Temp low low | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
14 |  |  | Main steam Temp High High | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
15 |  |  | UCP Panel(Emergency Push button) | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
16 |  |  | Exhaust Temperature High | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
17 |  |  | Exhaust Temperature High | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
18 |  |  | Exhaust Pressure Low low | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
19 |  |  | Lube oil pressure low low | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
20 |  |  | Control oil pressure low low | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
21 |  |  | Turbine trip due to no load cond | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
22 |  |  | Condensor level HI HI | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation
23 |  |  | Rotor axial displacement HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
24 |  |  | Turbine Front shaft Vibration HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
25 |  |  | Turbine Rear shaft Vibration HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
26 |  |  | Gearbox HS DE shft Vibration HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
27 |  |  | Gearbox HS NDE shft Vibration HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
28 |  |  | Gearbox LS NDE shft Vibration HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
29 |  |  | Gearbox LS DE shft Vibration HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
30 |  |  | Generator Front shaft Vibration HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
31 |  |  | Generator Rear shaft Vibration HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
32 |  |  | Turbine Thrust bearing Temp HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
33 |  |  | Turbine bearing Temp HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
34 |  |  | Gear box bearing Temp HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
35 |  |  | Alternator bearing Temp HI HI | Equipment Safety | Instrumentation | Head - Power Plant | Incharge - Instrumentation | Incharge - Instrumentation
36 |  |  | Lube oil tank level LOLO | Equipment Safety | Operation, Inst | Head - Power Plant | Shift Incharge - Operation | Incharge - Instrumentation