|  |  |  |  |
| --- | --- | --- | --- |
| A picture containing drawing  Description automatically generated | **VEDANTA LIMITED –**  **VALUE ADDED BUSINESS** | **Format No.:** | **FRMT/MR/10** |
| **INTEGRATED MANAGEMENT SYSTEM** | **Revision Date:** | **15.04.2020** |
| **HAZARD IDENTIFICATION** | **Revision No.:** | **01** |
| **Page No.:** | **1 of 1** |

**Rev No:04** Unit: PID-1

Date: 05.01.2022 Dept: E&I

1. Work activity information Cable Laying at a Height

|  |  |  |
| --- | --- | --- |
| **Sr.No.** | **Details** | **Remark** |
| 1) | Task being carried out, their duration and Frequency: | Cable laying at a height  8 hrs / As and when required |
| 2) | Location (s) where the work is carried out. | All over the plant |
| 3) | Who normally/occasionally carried out the task | Contractor |
| 4) | Who else may be affected by the work (For example visitors, subcontractors, the public) | Subcontractor and visitors |
| 5) | a)Has the personnel trained for performing the task  b) Any special training required | Yes  No |
| 6) | Are the written systems of work mandatory. If yes state the procedure no. | Yes-Vedanta Work at Heights Standard, SP/44 G |
| 7) | Is the work permit required for the task | Yes (VL/IMS/VAB/SP45) |
| 8) | Plant and machinery that may be used:  Eg : crusher, conveyor, crane, heavy earthing equipment, Truck etc, | Cherry Picker |
| 9) | Any electrically operated hand tools are used | Drill Machine, Welding machine |
| 10) | Manufacturer’s or supplier’s instructions for operation and maintenance plant machinery and powered hand tools are available or not: | Nil |
| **Sr.No.** | **Details** | **Remark** |
| 11) | Chain block, tools and shackles such as wire rope, hydraulic jack etc are used. | Nil |
| 12) | What materials are handled? Size, shape, surface character and weight of materials that may be handled: | Cable upto 64 core 1.5mm2 and weight depends on length, Drill machine, Ladder, Safety belt, Welding machine, Cutting set. |
| 13) | Is the material is required to be moved by hand. If yes Distance and heights of the place where materials have to move by hand. | Yes-distance=200mtrs  Height max.-70 mtrs |
| 14) | Services used Eg: compressed air, oxygen, acetylene,  LPG gas, hydraulic oil, welding electrode for welding | Nil |
| 15) | Physical form of substances encountered during the work (For example fume, gas, vapour, liquid, dust/powder, solid): | Nil |
| 16) | Content and recommendations of safety data sheets relating to substances used or encountered:  ( this is applicable in case of chemical material) | N/A |
| 17) | a) Relevant acts, regulations and standards relating to the work being done, the plant and machinery used and the materials used or encountered:  b) Is the activity is reviewed for compliance to statutory requirement | IE Rules  Yes |
| 18) | What is the data (s) required to be monitored during the activity and the frequency of monitoring. | Nil |
| 19) | Any information available from within and outside the organization on incident, accident and ill health experience associated with the work being done, equipment and substances used: | Nil |
|  |  |  |

2. From the above activity information hazards are to be identified and recorded below using Appendix 'A' of SP/41

[**Hazards identified**](../Risk%20Assessment%20Instrumentation/11R%20Cable%20Laying%20at%20Height%20.xls)

**Physical**

* Electric Shock, High temperature

**Mechanical:**

* Impact,
* Falling,

**Human Behaviour**

* Not adhering to WI/ PPE
* Alcoholism
* Use of uncertified of harness/equipments
* Improper use of harness
* Carrying out job without work permit

**Ergonomics**

* Wrong /Insufficient work methods

|  |  |  |
| --- | --- | --- |
| **Prepared By:**  Associate Manager– Electrical & Instrumentation PID1 | **Reviewed & Issued By:**  Management Representative | **Approved By:**  Head – Electrical & Instrumentation PID 1 |
| **Signature:** | **Signature:** | **Signature:** |
| **Date:** **05/01/2022** | **Date: 05/01/2022** | **Date: 05/01/2022** |